## Slide 1: Energy Supply, Delivery, and Demand

## Slide 2: How Energy Works

## Slide 3: Regional Summary
East and Gulf Coasts
Hawaii and U.S. Caribbean
Northeast and Midwest
Northwest and Southwest
Northeast, Midwest, Southwest, and Northern and Southern Great Plains
All Regions

## Slide 4: Key Message 1
What is extreme weather?
  High winds
  Thunderstorms
  Hurricanes
  Heat waves
  Intense cold periods
  Intense snow events and ice storms
  Extreme rainfall

## Slide 5: High Winds
Damage to electricity transmission and distribution lines, buildings, cooling towers, port facilities, and other offshore and onshore structures
Increased intensity of Hurricanes
  Con Edison and Public Service Electric and Gas invested over $2 billion in protections against hurricanes after Hurricane Sandy
  Hurricane Irma and Maria
Extreme Rainfall
Flash Floods and Landslides
  Damage foundations of power lines and pipeline crossings
  Damage power plants, substations, transformers, and refineries
River Flooding
Notes: River flooding: damage to transport infrastructure such as railroads and ports.

## Slide 6: Coastal Flooding
Flooding threatens much of Nation’s energy infrastructure
  Affect gas and electric gas performance
  Asset damage and failure
  Disrupt energy generation, transmission, and delivery
  Rising sea level and Hurricane intensity
Sea level rise of 1 meter by end of century
  25 Gigawatts of operating capacities at risk
  Florida and Delaware: Double number of vulnerable plants
  Texas: Triple number of vulnerable plants
Notes: Hurricane Sandy caused a couple Nuclear Power Plants to close
Large petroleum tanks to float: potentially destroying them and creating hazardous oil spills

## Slide 7: Extreme Heat Events and Increasing Temperature
Increased Cooling Demand
  Marginally offset by decreasing heat demand.
  Emissions of Criteria Air Pollutants
Reduced capacity and efficiency
Power disruptions and blackouts will be more frequent
Increased prices for consumers
Notes: Criteria Air Pollutants can create more photochemical smog thus reducing efficiency of solar panels.
Higher temperatures reduce the thermal efficiency and generating capacity of thermoelectric power plants and reduce the efficiency and current-carrying capacity of transmission and distribution lines

## Slide 8: Increased Water Temperatures and Decreased Water Availability
Power Plants rely on steady supply of water
  Elevated water temperature reduces power plant efficiency.
  Output by power plants using river water could be reduced by as much as 13% by 2050.
  Decrease in snow on top of mountains threatens Hydropower production.
    California hydropower output decreased by 60% in 2015
Petroleum, Natural Gas, and Biofuels
  Droughts threaten the production of fuel and also increase risk of wildfires.

## Slide 9: Economical Impact
Higher temperature drives up electrical cost
  Increased demand
  Reduction in efficiency of power generation and efficiency
  Increased generation capacity predicted to cost $30 billion per year by 2050
  Increase in energy demand expected to increase costs by $32-$87 billion annually
  Residential and Commercial electrical costs expected to increase 4%-18% by 2040
  Net electricity demand is expected to increase by 2%-9% by 2040

## Slide 10: Changes in Energy Expenditures for 2080-2099

## Slide 11: Potential Impacts from Extreme Weather and Climate
Source: adapted from DOE 2013.23

## Slide 12: Key Message 2

## Slide 13: Electricity Generation From Selected Fuels
Energy Sector undergoing transformation
Solar and Wind growth
Diversify the energy portfolio
Natural gas improves system flexibility and reliability
Source: EIA/AEO 2018.59
Notes: Natural Gas can ramp output up and down

## Slide 14: Petroleum
Decrease in net imports of Petroleum
  Reached new low 2016
    25% of U.S Petroleum Consumption
  Down 60% from 2005
Several Factors
  Domestic shale oil reserves
  Reduced demand levels
  Expanded biofuel production
Notes: Petroleum: gasoline, propane, jet fuel

## Slide 15: Energy Efficiency
Controls energy costs to homes, buildings, and industry
  Increased resilience
What contributes to this increase in energy efficiency?
  Tax Policy and other financial incentives
    Residential Renewable Energy Tax Credit
  Development of building energy codes and appliance and equipment standards
    Department of Energy
  Voluntary actions to improve energy efficiency
  Growth of the energy industry

## Slide 16: Changes in the Grid System
Grid Operators improving system resilience and reliability
  Local changes
Smart meter infrastructure and communication-enabled devices
Real-time communications for outages
Notes: Smart Meter: monitor and potentially lower electricity usage in real time

## Slide 17: Fuel Availability and Outages
Fuel availability can affect electricity generation reliability and resilience
Coal
  Storage for 30 days
Natural Gas
  Delivered through pipelines
Hydropower
  Water availability

## Slide 18: Interdependencies
Increasing electrification in other sectors (transportation, banking, finance, healthcare)
  Exacerbate climate change impacts
  Communication architectures are often used in power delivery.
    Supervisory control and data acquisition
Resilience actions in other sectors

## Slide 19: Examples of Critical Infrastructure Interdependencies
Source: adapted from DOE 2017.2
Notes: Switches: device in computer network that connects other devices together.

## Slide 20: An Aging System
Majority of the energy infrastructure dates back to 20th century.
  70% of grid’s transmissions lines and power transformers over 25 years old.
  Average age of power plants: 30+ years old
  Components of energy system are of varied ages
  Aging natural gas pipelines pose safety and environmental concerns.

## Slide 21: Key Message 3

## Slide 22: Industry Action
Local, State, Regional, and Federal levels are taking action.
  Planning and operational measures
  Hardening measures
  Public-Private Partnerships
Coastal Infrastructure
  Rising Sea Levels and Flooding
Thermoelectric Power Plants
  Fuel and water supplies
  Natural Gas Power Plants
    Co-firing with fuel oil

## Slide 23: Electric Grid
Improved Modeling and Analysis
  Generation resources
  Electricity Demand
  Usage Patterns
Plan for future changes
  Increased storage
  Demand response
  Smart grid technologies
  Energy efficiency
Electricity Demand Response Programs
  Shift or reduce electricity usage during peak periods
Notes: Demand Response: Customers are asked in advance to be mindful of their energy consumption. Often includes rewards or penalties.

## Slide 24: Rebuilding and Enhancing Energy System Resilience
Hurricanes and Tropical Storms provide opportunity
  Superstorm Sandy cause 8.7 million customers to lose power
  Allowed Utility Companies to invest billions
    Submersible equipment and floodwalls, elevating equipment, redesigning underground electrical networks, and installing smart switches.
  These actions have prevented further outages

## Slide 25: Private and Public-Private Partnerships
Used to share lessons learned and coordinate action
Rockefeller Foundation’s 100 Resilient Cities and C40 Cities Partnership
U.S. Department of Energy
  Works with operators of energy assets to facilitate, assist, and recognize vulnerabilities.
  Operators must commit, take action, and measure and report results.
Notes: Rockefeller: Helping cities become more resilient to the economic, social, and physical challenges of climate change
C40: Tackling climate change through reducing ghg emissions and climate risks while increasing the health and opportunity of urban citizens.
PARTNERS AGREE TO:
Commit… Identify priority climate vulnerabilities and develop resilience strategies
Take Action… Identify and pursue priority resilience strategies, and assess costs and benefits of investments
Measure and Report Results… Share experiences with climate resilience activities implemented and progress in enhancing resilience
DOE AGREES TO:
Facilitate… Share information and technical assistance on climate science, emerging climate resilience best practices, technologies and policies
Assist… Develop and deploy tools for assessing vulnerabilities, employing user-friendly climate data, and evaluate the costs and benefits of climate resilience investments
Recognize… Provide national recognition to Partners for implementing measures to enhance energy infrastructure resilience

## Slide 26: Hardening Measures
Protect energy systems from extreme weather hazards
  Natural or physical barriers to protect from flooding
  Reinforcing assets to protect from wind damage
  Improving cooling and ventilation equipment
  Adding redundancy
  Deploying distributed generation equipment
  Improved energy storage
  Microgrids with islanding capabilities
Hardening assets is not always best, sometimes must relocate
Notes: Islanding: ability to isolate a local, self-sufficient power grid during outages

## Slide 27: Water-Constrained Areas
Thermoelectric Power Plants
  Alternative cooling systems that reduce water withdrawals
    Brackish water
    Municipal wastewater
    Combined Power Generation technologies
      Wind
      Solar
      Natural Gas
Brackish and Municipal Wastewater
  Puts stress on energy sector

## Slide 28: Obstacles for Energy System Resilience
Lack of reliable projections for climate change
Lack of a national, regional, or local cost-effective risk reduction strategy
  Where should adaptation measure be pursued?
    Will the change be effective?
Addressing these obstacles
  Improved awareness
  Cost-effective resilience-enhancing technologies
  Standardized methodologies and metrics for assessing the benefits of resilience measures
  Expanding public-private partnerships
  Ensuring the poor and marginalized are part of the plan

## Slide 29: Energy Sector Resilience Solutions

## Slide 30: Major Uncertainties
Inability to predict future climate parameters with complete accuracy
  Incomplete historical data
  Constraints on modeling methodologies
  Uncertainties on future emissions
Future changes in the energy system and affect climate change and extreme weather will have
Uncertainties in evaluating the costs, benefits, and performance of resilience investments

## Slide 31: Sources
https://www.eia.gov/energyexplained/index.php?page=electricity_delivery
Fourth National Climate Assessment
https://www.eia.gov/energyexplained/index.php?page=oil_use